## Checklist
FDH Acceptance Certificate
Details - Checklist No: FC1LBR1FDH2QCCL117 Rev. 0
Phase: |  | Langeberg Ridge |  | Date & Time: | Mar, 15, 2025 12:11
FDA: |  | Langeberg Ridge |  | FDH: | FC1LBR1FDH2
Closest Address: |  | Langeberg Ridge |  | FDH Type: | FC1LBR1FDH2
Above Ground FDH Checklist
# | Item: | Description: |  |  | Result: | Comment
1 | Concrete | Smooth edges. No cracks or chips |  |  | Pass
2 | FDH Mounting | Bolts on all 4 sides of FDH. FDH to be sturdy. |  |  | Pass
3 | Conduit Organization | Organize each row of microducts for each route being brought into the cabinet. |  |  | Pass | Correct photo loaded
Below Ground FDH Checklist
# | Item: | Description: |  |  | Result: | Comment
20 | Conduit Organization | Organize each row of microducts for each route being brought into the cabinet. |  |  | Pass
21 | Reducers | Reducers on all allocated conduits. |  |  | Pass | This is applicable.
Comments:
Contractor: , PMQC: , ClientQC: null
Representative Details:
| Client Representative |  | PMO Representative |  |  | Contractor Representative
|  |  | Braam Bester |  |  | Jack Sparrow
|  |  | Mar, 15, 2025 12:11 |  |  | Mar, 15, 2025 12:11

## Images
FDH Checklist Images
Details - Checklist No: FC1LBR1FDH2QCCL117 Rev. 7
Activity | Image 1 | Image 2 | Image 3
1
2
3
20
21