## Checklist
FDH Acceptance Certificate
Details - Checklist No: FC1LBR1FDH3QCCL112 Rev. 9
Phase: |  |  |  | Date & Time:
FDA: |  |  |  | FDH:
Closest Address: |  |  |  | FDH Type:
Above Ground FDH Checklist
# | Item: | Description: |  |  | Result: | Comment
1 | Concrete | Smooth edges. No cracks or chips |  |  | Pass
2 | FDH Mounting | Bolts on all 4 sides of FDH. FDH to be sturdy. |  |  | Pass
3 | Conduit Organization | Organize each row of microducts for each route being brought into the cabinet. |  |  | Pass | Comment
Below Ground FDH Checklist
# | Item: | Description: |  |  | Result: | Comment
20 | Conduit Organization | Organize each row of microducts for each route being brought into the cabinet. |  |  | Pass
21 | Reducers | Reducers on all allocated conduits. |  |  | Pass
Comments:
Contractor: null, PMQC: null, ClientQC: null
Representative Details:
| Client Representative |  | PMO Representative |  |  | Contractor Representative

## Images
FDH Checklist Images
Details - Checklist No: FC1LBR1FDH3QCCL112 Rev. 9
Activity | Image 1 | Image 2 | Image 3
1
2
3
20
21