## Checklist
FDH Acceptance Certificate
Details - Checklist No: FC1LBR1FDH3QCCL168 Rev. 0
Phase: |  | Langeberg Ridge |  | Date & Time:
FDA: |  | Langeberg Ridge |  | FDH: | FC1LBR1FDH3
Closest Address: |  | Langeberg Ridge |  | FDH Type: | FC1LBR1FDH3
Above Ground FDH Checklist
# | Item: | Description: |  |  | Result: | Comment
1 | Concrete | Smooth edges. No cracks or chips |  |  | Pass
2 | FDH Mounting | Bolts on all 4 sides of FDH. FDH to be sturdy. |  |  | Fail
3 | Conduit Organization | Organize each row of microducts for each route being brought into the cabinet. |  |  | NA
4 | Duct Organizers | Attached correctly and secure. Conduit to be 2" high from organizer. Staggered height. |  |  | Pass
Comments:
Contractor: , PMQC: null, ClientQC: null
Representative Details:
| Client Representative |  | PMO Representative |  |  | Contractor Representative
Jack Sparrow
May, 31, 2025 14:32

## Images
FDH Checklist Images
Details - Checklist No: FC1LBR1FDH3QCCL168 Rev. 0
Activity | Image 1 | Image 2 | Image 3
1
2
3
4